2017


SPARE PARTS LIST OF CBR1-2
	N0.
	CODE
	NAME
	MODEL
	QUY.
	MATERIAL
	REMARK

	01
	CBR1-2.01
	TOP
	
	1PC
	
	

	02
	CBR1-2.02
	AIR FLOW CONDUCT BOARD
	
	1PC
	STAINLESS
	

	03
	CBR1-2.03
	BODY
	
	1PC
	
	

	04
	CBR1-2.04
	UNITE ROOM GRILLS
	
	1PC
	
	

	05
	CBR1-2.05
	THE FAN SUPPORT
	
	1PC
	STAINLESS
	

	06
	GN2100TN.23
	CIRCLE FAN
	SA9225A2
	2PCS
	
	

	07
	S900.31
	SENSOR FIXED CLIP
	
	1PC
	STAINLESS
	

	08
	CBR1-2.08
	EVAPORATOR
	
	1PC
	
	

	09
	CBR1-2.09
	EVAPORATOR COVER
	
	1PC
	STAINLESS
	

	10
	CBR1-2.10
	WATER PAN
	
	1PC
	STAINLESS
	

	11
	CBR1-2.11
	HEATER
	
	1PC
	
	

	12
	CBR1-2.12
	HEAT PRESERVATION FOAM
	
	1PC
	PLASTIC
	

	13
	CBR1-2.13
	MUFFLER
	
	1PC
	
	

	14
	G-F500.01
	COMPRESSOR
	EMT2121U
	1PC
	
	

	15
	S900.47
	PLUG
	
	1PC
	
	

	16
	CBR1-2.16
	UNIT BOARD
	
	1PC
	
	

	17
	CBR1-2.17
	WATER PAN
	
	1PC
	STAINLESS
	

	18
	CBR1-2.18
	DISCHARGE PIPE
	Φ6
	1PC
	COPPER
	

	19
	CBR1-2.19
	CONDENSER
	
	1PC
	
	

	20
	BC2-24.09
	CONDENSER FAN
	1725
	1PC
	
	

	21
	S900.44
	FILTER DRIER
	
	1PC
	
	

	22
	D3.24
	SOLENOID VALVE
	CSV2
	1PC
	
	

	23
	CBR1-2.23
	PROTECTOR BOX
	
	1PC
	
	

	24
	CBR1-2.24
	NORMAL WHEEL
	
	2PCS
	
	

	25
	CBR1-2.25
	BRAKE WHEEL
	
	2PCS
	
	

	 N0.
	CODE
	NAME
	MODEL
	QUY.
	MATERIAL
	REMARK

	26
	CBR1-2.26
	FRONT PANEL
	
	1PC
	
	

	27
	S900.01
	MAIN SWITCH
	
	1PC
	
	

	28
	CBR1-2.28
	THERMOSTAT
	XW06K-CX40
	1PC
	
	

	29
	CBR1-2.29
	DOWN FRONT PANEL
	
	1PC
	STAINLESS
	

	30
	CBR1-2.30
	GUIDE LEFT/RIGHT
	
	1PAIR
	
	

	31
	GN650TN.01
	SUPPORT TRAY NUT
	
	2PCS
	
	

	32
	CBR1-2.32
	GASKET
	
	1PC
	
	

	33
	CBR1-2.33
	DRAWER
	
	1PC
	
	

	34
	CBR1-2.34
	BACK SUPPORT
	
	2PCS
	
	


PAGE  
2
2 / 2

